Drinking Water Quality and Compliance

for South Yellowhead Water Corp. –

2023 Annual Notice to Consumers

Introduction

The Water Security Agency (WSA) requires that at least once each year waterworks owners provide notification to consumers of the quality of water produced and supplied as well as information on the performance of the waterworks in submitting samples as required by a Permit to Operate a waterworks.  The following is a summary of the South Yellowhead Water Corp. water quality and sample submission compliance record for the Jan. 1, 2023 to Dec. 31, 2023.  This report was completed on Jan. 15, 2024.  Readers should refer to the Agency’s Municipal Drinking Water Quality Monitoring Guidelines, November 2002, EPB 202 for more information on minimum sample submission requirements and the meaning of type of sample.  Permit requirements for a specific waterworks may require more sampling than outlined in the Agency’s monitoring guidelines.  If consumers need more information on the nature and significance of specific water tests, for example, “what is the significance of Selenium in a water supply”, more detailed information is available from:  http://www.hc-sc.gc.ca/ewh-semt/pubs/water-eau/index_e.html .

## Water Quality Standards

# Bacteriological Quality

Regular Samples	Regular Samples	  # of Positive Regular

Parameter/Location	Limit			Required		Submitted	  Submitted (%)

Total Coliform and	0 Organisms/100 mL	___24_________	__24__________  ______0__________

Background Bacteria	Less than 200/100 mL

Water Disinfection –

Chlorine Residual in Distribution System for Test Results Submitted with Bacteriological Samples

Minimum	Total Chlorine	Free Chlorine	# Tests	# Tests	# Adequate

Parameter	Limit	Residual Range	Residual Range	Required	Submitted	Chlorine (%)

Chlorine	0.1 mg/L free OR

Residual	0.5 mg/L total	  1.04 – 1.86	   	      24	     24	                 100

Water Disinfection - Total Chlorine Residual for Water Entering Distribution System from Waterworks Records-From Water Treatment Plant Records

Test Level	# Tests                # Tests Not Meeting

Parameter	Limit (mg/L)	Range	Performed          Requirements

Total Chlorine Residual	at least 0.5                        0.86 – 1.93	365                         0

A minimum of 0.1 milligrams per litre (mg/L) free chlorine residual is required for water entering the distribution system.  Tests are normally performed on a daily basis by the waterworks operator and are to be recorded in operation records.  This data includes the number of free chlorine residual tests performed, the overall range of free chlorine residual (highest and lowest recorded values) and the number of tests and percentage of results not meeting the minimum requirement of 0.1 mg/L free chlorine residual.  Water is supplied by the City of Saskatoon and is Chloraminated so there is rarely free chlorine residual.   The system operates on total chlorine residual.

Turbidity – From Water Treatment Plant Records

Parameter	Limit	Test Level	# Tests Not Meeting	Maximum	# Tests           # Tests		# Tests

(NTU) 	Range	Requirements	Turbidity (NTU)	Required        Performed	Performed

Turbidity	_______	_________	_________________	___________	________       __________	____________

Chemical – Health Category

All waterworks serving less than 5000 persons are required to submit water samples for WSA’s Chemical Health category once every 2 years.  The Chemical Health category includes analysis for arsenic, barium, boron, cadmium, chromium, fluoride, lead, nitrate, selenium and uranium.

The last sample for Chemical Health analysis was submitted on (insert date).  Sample results indicated that the provincial drinking water quality standards were not exceeded.  (Use this one if review indicates that there were no exceedences).  (OR)  Samples exceeded provincial water quality standards for the following parameters:  (Use only the applicable portions of table below for which values have been exceeded).

Limit	Limit	Sample	# Samples

Parameter	MAC(mg/L)	IMAC (mg/L)	Result(s)	Exceeding Limit

Arsenic	0.010		_________	________________   * Results expressed

Barium	1.0		_________	________________ 	  as average values

Boron		5.0	_________	________________      for communities or

Cadmium	0.005		_________	________________      waterworks that

Chromium	0.05		_________	________________      fluoridate drinking

Fluoride (avg*)	1.5		_________	________________      water supplies or

Lead	0.01		_________	________________      those with elevated

Nitrate (avg.*)	45.0		_________	________________      concentrations of

Seleniuum	0.01		_________	________________      fluoride or nitrates.

Uranium	0.02		_________	________________

Chemical – Trihalomethanes (THMs)

Parameter	THMs		Sample	# Samples	# Samples

Limit (mg/L)		Result (average) 	Required	Submitted

Trihalomethanes	0.1	_____________      ________	____________

Haloacetic Acids      0.08                      ____________       ________                             ___________

Note:  Only water supplies derived from surface water or groundwater under the influence of surface water are required to monitor for THMs.  Waterworks using groundwater sources beyond the influence of surface water do not need to report THMs since sampling/analysis will not likely have been performed.

# General Chemical

Aesthetic 		Sample Results	# Samples  # Samples

### Parameter	Objectives * (mg/L)	(average)	Required     Submitted

Alkalinity	500	_____________	________ 	_________

Bicarbonate	No Objective	_____________	________	_________

Calcium	No Objective	_____________	________	_________

Carbonate	No Objective	_____________	________	_________

Chloride	250	_____________ 	________	_________

Conductivity	No Objective	_____________	________	_________

Hardness	800	_____________	________	_________

Magnesium	200	_____________	________ 	_________

pH	No Objective	_____________	________	_________

Sodium	300	_____________	________	 ________

Sulphate	500	_____________ 	________ 	_________

Total dissolved

Solids                1500	                         _____________   ________      _________

All waterworks serving less than 5000 persons are required to submit water samples for WSA’s General Chemical category once every two years if a ground water source and once per three months every second year if a surface water or blended surface/groundwater source.  The General Chemical category includes analysis for alkalinity, bicarbonate, calcium, carbonate, chloride, conductivity, hardness (as CaCO3), magnesium, sodium, sulphate and total dissolved solids.

The last sample for General Chemical analysis was required on (insert year required) and submitted on (insert date) (use this statement if a groundwater supply).  The last sets of quarterly samples for General Chemical analysis were required on (insert year or sample submission period required) and were submitted on (insert dates) (use this statement if a surface source or blended source).  Sample results indicated that there were no exceedences of the provincial aesthetic objectives for the General Chemical category (use this statement if there were no exceedences). (OR)  Samples exceeded provincial aesthetic objectives for the General Chemical category for the following parameters: (use only the applicable portions of the table below for which values have been exceeded).

*Objectives apply to certain characteristics of substances found in water for human consumptive or hygienic use.  The presence of these substances will affect the acceptance of water by consumers and/or interfere with the practice of supplying good quality water.  Compliance with drinking water aesthetic objectives is not mandatory as these objectives are in the range where they do not constitute a health hazard.  The aesthetic objectives for several parameters (including hardness as CaCO3, magnesium, sodium and total dissolved solids) consider regional differences in drinking water sources and quality.

More information on water quality and sample submission performance may be obtained from:

South Yellowhead Water Corporation

Water operator:  Randy Heuchert

RR #5 Site 502 Box 30, Saskatoon, SK, S7K 3J8

306-931-0017      randy@sasktel.net

March 2008         EPB 236D